|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Infrastructure Type | Location | Contractor ID# | Plan Sheet# | Address | Structure | Walkthrough | Notes |
| N/A | FH-5GV | Null | N/A | N/A | Gate Valve | Accepted | N/A |
| N/A | WGV-10 | G97643006 | N/A | N/A | Gate | Accepted | N/A |
| N/A | WGV-5 | G97643007 | N/A | N/A | Gate | Accepted | N/A |
| N/A | WGV-4 | G97643008 | N/A | N/A | Gate | Accepted | N/A |
| N/A | FH-4GV | Null | N/A | N/A | Gate | Accepted | N/A |
| N/A | FH-3GV | Null | N/A | N/A | Gate | Accepted | N/A |
| N/A | FH-2GV | Null | N/A | N/A | Gate | Accepted | N/A |
| N/A | WGV-3 | G97643005 | N/A | N/A | Gate | Accepted | N/A |
| N/A | WGV-1 | G97643003 | N/A | N/A | Gate | Accepted | N/A |
| N/A | WGV-2 | G97643004 | N/A | N/A | Gate | Accepted | N/A |
| N/A | WGV-6 | G97643001 | N/A | N/A | Gate | Accepted | N/A |
| N/A | WGV-7 | G97643010 | N/A | N/A | Gate | Accepted | N/A |
| N/A | WGV-9 | G97643009 | N/A | N/A | Gate | Accepted | N/A |
| N/A | FH-1GV | Null | N/A | N/A | Gate | Accepted | N/A |
| N/A | WGV-8 | G97643002 | N/A | N/A | Gate | Accepted | N/A |
| N/A | RGV-5 | G97643007R | N/A | N/A | Gate | Accepted | N/A |
| N/A | RGV-2 | G97643002R | N/A | N/A | Gate | Accepted | N/A |
| N/A | RGV-1 | G97643003R | N/A | N/A | Gate | Accepted | N/A |
| N/A | RGV-3 | G97643004R | N/A | N/A | Gate | Accepted | N/A |
| N/A | RGV-4 | G97643005R | N/A | N/A | Gate | Accepted | N/A |
| N/A | RGV-6 | G97643006R | N/A | N/A | Gate | Accepted | N/A |
| N/A | RGV-7 | G97643001R | N/A | N/A | Gate | Accepted | N/A |
| N/A | RGV-8 | Null | N/A | N/A | Gate | Accepted | N/A |
| N/A | RGV-9 | A97643001R | N/A | N/A | ARV - Combination | Accepted | N/A |
| N/A | FGV-1 | F3348P029 | N/A | N/A | Plug | Accepted | N/A |
| N/A | FGV-2 | F3348P030 | N/A | N/A | Plug | Accepted | N/A |
| N/A | FGV-3 | F3348A006 | N/A | N/A | ARV - Combination | Accepted | N/A |